| MODEL | DESCRIPTION | DISTAL CONNECTOR (to box) | PROXIMAL CONNECTOR (to patient) |
| --- | --- | --- | --- |
| 4411 | Single use bipolar cable with 2mm pins and croc clips. For use with a pacing analyser and threshold testing. |  |  |
| 4412 | Single use bipolar cable with 2mm pins and 2mm screw sockets. To connect heart wires and temporary leads with standard 2mm pins to Pace Medical external pacemakers EV4543 and 4570 |  |  |
| 4413 | Single use bipolar cable with 2mm pins and moulded block screw sockets. To connect heart wires and temporary leads with standard 2mm pins to Pace Medical external pacemakers EV4543 and 4570 |  |  |
| 4414 | Single use bipolar cable with 2mm pins and push-in sockets for shrouded pins. To connect to temporary leads with shrouded pins to Pace Medical external pacemakers EV4543 and 4570 |  |  |
| 4421 | Single use bipolar cable with 2mm shrouded pins and croc clips. For use with a pacing analyser and threshold testing. |  |  |
| 4422 | Single use bipolar cable with 2mm shrouded pins and screw /collet terminals. To connect heart wires and temporary leads with standard 2mm pins to Reocor D/S pacemakers (without use of adaptor) |  |  |
| 4424 | Single use cable with shrouded pins and shrouded sockets. To connect to temporary leads with shrouded pins to Reocor D/S pacemakers (without use of adaptor) |  |  |
| 4431 | Single use bipolar cable with REDEL (2 pin) and croc clips. For use with a pacing analyser and threshold testing. |  |  |
| 4432 | Single use bipolar cable with 2mm shrouded pins and croc clips. To connect heart wires and temporary leads with standard 2mm pins to Reocor D/S pacemakers (without use of adaptor) |  |  |
| 4433 | Single use cable with REDEL (2 pin) connector and moulded block and screw sockets. To connect heart wires and temporary leads with standard 2mm pins to Pace Medical external pacemakers 4170 and 4580 |  |  |
| 4452 | Single use bipolar cable with 6 pin REDEL Biotronik connector and 2 screw collet terminals. Normally to connect heart wires to Reocor S pacemakers (using adaptor) |  |  |
| 4452Q | Single use bipolar cable with 6 pin REDEL Biotronik connector and 4 screw collet terminals. Normally to connect heart wires to Reocor D pacemakers (using adaptor) |  |  |

*** If not specified above we can provide cables with alternative connections upon request